Detailed Manual Handling Risk Assessment

| School/Service: | Earth and Environment | Assessment Title: | Moving gas cylinders |
| --- | --- | --- | --- |
| Name of Assessors(s): | Sam Allshorn | Signature of Assessors(s): |  |
| Assessment Date: | 28/5/2010 | Review Date: | 02/06/2013 |
| Location: | West Wing Level 9 | Frequency of Task: | There may be several cylinders to move in one day but not every day. |
| Job titles of staff involved: | Technician | Male/Female (See 3.1.2): | Male |
| Description of activity: Exchange of empty gas cylinders for full one from the departmental gas cage store underneath the senior common room. |  |  |  |

Risk Assessment Matrix

| GREEN | Low Monitor activity | RED | High Prompt action is required |
| --- | --- | --- | --- |
| AMBER | Medium Examine activity and reduce risk where possible | PURPLE | Very High Risk Need close scrutiny and action as potentially a serious risk of injury. |

Please use with reference to Manual Handling Risk Assessment Guidance Notes (GN) where necessary

Section 1:	Manual Handling Risk Assessment for Lifting and Carrying

| GN Ref No | Detail | Green | Amber | Red | Purple | Identify Risk Level | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.1.1 | Load weight/frequency (See HSE Graph) | As per chart | As per chart | As per chart | 50kg or more (as per chart) | Purple | No direct vertical lift should ever be undertaken but cylinders general weigh more than 80kg. |
| 3.1.2 | Vertical lift region | Above knee and/or below elbow height | Below knee and or above elbow height | Floor level or below and/or above head height |  | Amber | Assuming male greater than 6 feet tall. Again never a direct lift only milk churning over short distances <2m. |
| 3.1.3 | Hand distance from lower back when carrying | Close - upper arm vertical/ trunk upright | Moderate - upper arm angled OR trunk bent forward | Far - upper arm angled AND truck bent forward |  | Amber |  |
|  | Trunk twisting Sideward bending | Little or no twisting or sideways bending | Trunk twisting OR Sideways bending | Trunk twisting AND Sideways bending |  | Green | There is a sideways walk required but no twisting or bending are required. |
| 3.1.4 | Postural constraints | None | Restricted posture | Severe posture restrictions |  | Amber | The cylinder store can restrict movement |
|  | Grip on the load | Good – handles fit for purpose | Reasonable – poor handles or able to grip container securely underneath | Poor – containers have poor design, loose parts, irregular shapes, hot/cold or unstable loads |  | Amber | The cylinder valve allows good grip but is not a handle. |
|  | Floor Space | Dry and in good condition | Dry but poor conditions or uneven | Contaminated/ wet or steep sloping or unstable footing |  | Amber | In wet weather the area around the cylinder store can become slippery and covered in mud in dry condition amber. Periodic cleaning of the store floor is required. |
| 3.1.5 | Environmental Factors | No contributory factors | One present e.g. poor lighting, extremes of temp., outdoors etc. | Two or more present |  | Amber | The cylinder store is outdoors. |

| GN Ref No | Detail | Green | Amber | Red | Purple | Identify Risk Level | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.1.6 | Asymmetrical trunk/load | Load symmetrical in front/two hands | Load and hands asymmetrical, body upright | One handed to side or twisting/bent back |  | Amber | Although the load is at shoulder height there is a rapid change of load of each arm as churning is carried out. |
|  | Obstacles on route | No obstacles or flat route | Steep slope, trip hazards or steps | Ladders |  | Green | There are small lips at external door ways and automatic closers on doors other than that no obstacles. |
|  | Carry Distance | 2m-4m | 4m-10m | 10m or more |  | green | There is no carry a milk churn of less than 2m may be required at either end of the trolley use. |
| 3.1.7 | Personal Protective Equipment (PPE) | PPE is not required and footwear is suitable, or PPE is provided and worn and is suitable for task, e.g. does not restrict movement/grip | Moderate restriction due to wearing PPE | Restricted movement and dexterity due to wearing PPE, or suitable PPE provided but not worn | PPE required but not provided | Green | Steel toe capped boots, work gloves with elastic wrist bands and chemical and impact resistant goggles are worn. |
| 3.1.8 | Training | Suitable manual handling training course e.g. Health and Safety Services and School/Service on-the-job training, including refreshers | Initial Health and Safety Services, and School/Service training provided, but some staff overdue for refresher training | Health and Safety Services manual handling training provided but no departmental on-the-job training (or vice versa) | No training has been provided | Green | At present but currently no further training at a school level is available so no new users are permitted. |
| 3.1.9 | Women of Child bearing Age | Non Employed |  | Employed |  |  | This task is unsuitable for new and expectant mothers. |
| 3.1.10 | Individual capabilities (See Guidance) | Procedure for identifying high risk groups and individual risk assessments (RAs) completed, where appropriate | Individuals identified and actions taken but no documented evidence available | Procedures for individual RAs but none completed or actions not implemented, or task requires unusual strength, height, etc | No procedure for identification of high risk groups and no individual RAs completed. | Green | This has been included into the lab induction material that will be refreshed annually. |
| 3.1.11 | Psychosocial factors | Staff consulted regarding work, rest breaks scheduled and taken, good communication with managers and sudden changes in workload well-managed | Staff consulted regarding work, rest breaks scheduled but not always taken. Good communication with managers, however, infrequent periods of high workload | No staff consultation or no rest breaks or poor management communication or frequent periods of high workload or tight deadlines |  | Green | Please feel free to change this if you disagree. |

| GN Ref No | Detail | Green | Amber | Red | Purple | Identify Risk Level | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3.1.12 | Pushing/Pulling of load e.g. using trolleys, or rolling/sliding on floor (complete if applicable) | Minimal pushing or pulling of LIGHT LOADS on flat level surface, with suitable trolley in good condition over a distance of no more than 20m | Minimal pushing of MEDIUM LOADS on flat, level surface with suitable trolley in good condition, or light loads but trolley in poor condition. In both cases distance travelled less than 20m | Awkward/heavy/bulky load or medium weight load over slope/rough ground/trolley in poor condition/inappropriate trolley or distance moved is over 20m* | Awkward/heavy/bulky load over slope/rough ground/trolley poor* | RED | An additional pushing assessment is to be made. |
| * will require a detailed pushing/pulling will risk assessment – see Section 2 |  |  |  |  |  |  |  |
| TEAM HANDLING (Complete If Applicable): |  |  |  |  |  |  |  |
| 3.1.13 | Load Weight | 2 person <35kg 3 person<40kg | 2 person 35-50kg 3 person 40 - 75kg 4 person 40-100kg | 2 person 51-85kg 3 person 76-125kg 4 person 101-170kg | 2p. > 85kg 3p. > 125kg 4p. > 170kg |  |  |
| 3.1.14 | Communication, coordination and control | Good | Reasonable | Poor |  |  |  |

| ACTION REQUIRED |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Action No | Actions required to reduce the level of risk | Priority | Date action required by | Who is to take action? | Completion date and signature |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

Section 2:  	Additional assessment for Pushing and Pulling (this is in addition to the Manual Handling Assessment in Section 1)

| Question | Green | Amber | Red | Identify Risk Level | Comments |
| --- | --- | --- | --- | --- | --- |
| Does the task involve: |  |  |  |  |  |
| Initial force to get the load moving? | Moves freely | Small amount | High amount | Amber |  |
| Force to keep the load in motion? | Moves freely | Small amount | High amount | Green |  |
| Sudden movements to start, stop or manoeuvre the load? | No | Small amount | High amount | Green |  |
| Twisting / manoeuvring of the load into position or around obstacles? | None | Limited amount involved | Generally required | Amber |  |
| One handed operations? | None | Occasionally | Frequently | Amber | A second person may be useful to hold doors open |
| Hand below the waist or above standard height e.g. Pallet truck? | No | Occasionally | Frequently | Green |  |
| Movement over long distances? | Less than 20 metres | Occasionally over 20 metres | Frequently over 20 metres | Red | The entire journey must be completed in one session as the cylinder can not be stored in the building. |
| Frequency of pushing/pulling activities (per work day) | Once | Several times | Frequently | Amber | The empty cylinder is removed and a new full one will be brought back to replace it. |
| Equipment on wheels |  |  |  |  |  |
| Suitability for load type | Suitable | Poor | Unsuitable | Green | Purpose built and with support wheel at the rear or the two wheeled sort. |
| Suitability for the load/surface/work environment | Suitable | Poor | Unsuitable | Green |  |
| Steering | Good | Poor | Difficult to steer | Green |  |
| Brakes | Not required/Good condition operating effectively | Brakes not fully functioning (if required) | With brakes, but brakes poor, defective or requires brake but not provided | Green | Brakes not required |
| Maintenance and planned inspection regime (see guidance 3.2.1) | Good - all criteria met | Infrequent/insufficient | Not undertaken | Red | Simple visual check of trolley should be carried out prior to every use. |

| ACTION REQUIRED |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Action No | Actions required to reduce the level of risk | Priority | Date action required by | Who is to take action? | Completion date and signature |
| 1 | A pre check list for trolley use is required | Moderate as trolleys are new | End of 2009 | I guess I will as no one else is going to (Sam Allshorn) |  |